# Nirantara Sentinel — Complete Build Plan

**Team: 4 people | Time: 36 hours**

## 1. What This Is

Nirantara Sentinel is a network failure prediction and medical continuity system. It solves one problem: when a hospital network dies (ransomware, fiber cut, cloud outage), bedside monitoring, patient identity, and new charting all go blind.

**Four-layer architecture:**

| Layer | Function | Technology |

|---|---|---|

| **Sense** | Vitals, eye gaze, GPS | Sensors + EOG electrodes |

| **Predict** | Network failure 15–30s ahead, equipment anomaly | NXP TinyML / NPU |

| **Survive** | When all IP is dead, mesh keeps alarms, identity, location alive | ESP-NOW + RFID + GPS |

| **Recover** | Merge offline logs, LLM writes timeline | Ollama local LLM + merge engine |

**One line:** Sentinel predicts network failure, fails over before packets drop, keeps alarms, identity, and GPS-tagged triage alive on a radio mesh when every IP path is dead, and merges everything cleanly when the network returns. Paralyzed patients can call for help with eye gaze and blink — no hands needed.

## 2. NXP FRDM-MCXN947 — The Brain

| Spec | Value |

|---|---|

| CPU | Dual-core Arm Cortex-M33 @ 150MHz |

| NPU | eIQ Neutron NPU, up to **42× ML throughput** |

| Flash | 2MB dual-bank |

| RAM | 512KB |

| Ethernet | 1× 10/100 Mbps with QoS |

| Security | TrustZone, EdgeLock |

**Dual-port implementation:** MCXN947 has one Ethernet MAC. Port A = NXP onboard Ethernet. Port B = ESP32 #2 WiFi via UART/SPI to NXP. Both paths go through NXP for unified scheduling.

**NPU role:** eIQ Neutron NPU accelerates TinyML inference. Use **eIQ Time Series Studio** or **Edge Impulse** to train, then **Neutron Converter** to deploy to NPU.

## 3. Hardware Mapping

| Component | Role | Connection |

|---|---|---|

| **NXP FRDM-MCXN947** | Predictive gateway + TinyML + dual-path manager | Ethernet + UART to ESP32 #2 |

| **ESP32 #1** | Patient/bed node | Sensors direct |

| **ESP32 #2** | Mesh relay + second network path | ESP-NOW + WiFi + UART to NXP |

| **Arduino** | EOG acquisition + blink detection | Analog in + UART to ESP32 #1 |

| **Pulse sensor** | HR trend | ESP32 #1 ADC |

| **Force sensor** | Bed exit / patient movement | ESP32 #1 ADC |

| **Accelerometer** | Fall detection | ESP32 #1 I2C |

| **PIR** | Room presence | ESP32 #1 GPIO |

| **Ultrasonic** | Bed occupancy | ESP32 #1 GPIO |

| **RFID** | Patient ID + signed capsule | ESP32 #1 SPI |

| **GPS NEO** | Offline location tagging | ESP32 #1 UART |

| **DFPlayer** | Audio instructions | ESP32 #1 UART |

| **SD card** | Offline queue | ESP32 #2 SPI |

| **LED** | Triage color | ESP32 #1 GPIO |

| **TFT display** | Relay UI + QR code | ESP32 #2 SPI |

| **OLED ×2** | Node status + RFID verify | ESP32 #1 I2C |

| **Breadboard** | Prototyping | — |

| **Victus** | Local LLM + dashboard + merge engine | WiFi/USB |

| **MacBook M5 + Dell** | Dev + backup | — |

## 4. Software Architecture

### 4.1 Case Capsule Schema

```json

{

"patient_id": "RFID_HASH",

"timestamp": "ISO8601",

"gps": {"lat": 12.9716, "lon": 77.5946, "alt": 920},

"vitals": {"hr": 120, "hr_trend": "rising", "fall_detected": true},

"red_flags": ["fall", "tachycardia"],

"eye_gaze": {"direction": "LEFT", "blink_count": 2, "command": "CALL_NURSE"},

"triage_color": "RED",

"time_to_help": "20min",

"signature": "HMAC-SHA256",

"delta_from_baseline": true

}

```

Delta encoding: only changes from baseline. ~90% smaller than raw logs.

### 4.2 NXP Dual-Path Prediction

```

Every 100ms sample:

Port A: latency, jitter, packet_loss, DNS_time

Port B: same

TinyML inference (every 500ms):

Input: 8-dim feature vector over last 5 seconds

Output: {healthy: 0.95, degrading: 0.04, critical: 0.01}

Rules:

degrading > 0.6 → warning, dashboard yellow

degrading > 0.85 OR critical > 0.5 → switch to Port B

Both critical → activate ESP32 mesh

```

**Training data:** CSE-CIC-IDS2018 — **120,000 samples**, 14 attack types, **98.69% accuracy** on anomaly detection.

**Deploy:** Train on Victus (TensorFlow/Edge Impulse) → export TFLite → Neutron Converter → MCUXpresso flash → NPU inference <5ms.

**Fallback:** Threshold + linear trend. Still predictive, still honest.

### 4.3 ESP-NOW Mesh + GPS

ESP-NOW mesh supports **multi-hop relay, up to 5 hops**, theoretical range ~**1.25km**. GPS NEO-6M + **Kalman filter** improves accuracy ~62%.

```

Node → ESP-NOW → Relay → NXP Gateway → Victus

↑

Every packet carries GPS (lat, lon, alt, timestamp)

If gateway unreachable → SD store

If gateway returns → auto-sync stored packets

```

### 4.4 Victus Local LLM

```bash

ollama pull llama3.2:3b

```

Existing proof: **LUNA** uses Llama-3.2:3B for fully offline structured clinical triage. **TCCC Simple** uses Llama 3.2 3B + RAG for tactical combat casualty care.

**Delay-aware advice engine:**

- Time-to-help = 20 min → "Stabilize, prepare transport, monitor every 5 min"

- Time-to-help = 2 days → "Teach caregiver, ration supplies, monitor every 2h, escalate only on red flags"

### 4.5 Triage Priority

```

priority = severity × time_sensitivity ÷ time_to_help

```

### 4.6 RFID Signature + Tamper Detection

- On registration: generate HMAC-SHA256 key, write to tag

- On read: node verifies with stored key

- Match → OLED `VERIFIED`

- Mismatch → OLED red `TAMPERED`

## 5. Eye Gaze Subsystem

Paralyzed patients can't use hands. They can use eye movement and blinks.

### 5.1 Hardware (EOG — Electrooculography)

**Open-source reference:** Upside Down Labs **Eye-BioAmp-Arduino-Firmware** has full EOG acquisition, filtering, blink detection for Arduino/ESP32. Examples: **EyeBlinkDetection** and **BlinkMorse** (blink Morse code). Validated in published ESP32-based emergency communication research.

**Circuit:**

```

Electrode 1 → above eye (forehead)

Electrode 2 → below eye (cheekbone)

Electrode 3 → reference (earlobe)

→ Instrumentation amplifier (Arduino onboard or DIY op-amp)

→ Bandpass filter 0.1–10Hz (4th-order IIR Butterworth)

→ Arduino ADC

→ UART → ESP32 #1

```

**Filter:** 4th-order IIR Butterworth bandpass from BioAmp library, C++ on Arduino.

### 5.2 Detection Logic

```cpp

float eog_value = analogRead(EOG_PIN);

float filtered = EOGFilter(eog_value);

if (filtered > BLINK_THRESHOLD && !blink_active) {

blink_active = true;

blink_start = millis();

}

if (filtered < BLINK_THRESHOLD && blink_active) {

blink_duration = millis() - blink_start;

if (blink_duration > 100 && blink_duration < 400) blink_count++;

blink_active = false;

}

if (filtered > GAZE_LEFT_THRESHOLD) gaze = LEFT;

else if (filtered < GAZE_RIGHT_THRESHOLD) gaze = RIGHT;

else gaze = CENTER;

if (blink_count == 2) command = "CALL_NURSE";

if (blink_count == 3) command = "PAIN";

if (gaze == LEFT && blink_count == 1) command = "WATER";

if (gaze == RIGHT && blink_count == 1) command = "BATHROOM";

```

### 5.3 Screen Control

```cpp

// Menu: [CALL NURSE] [PAIN] [WATER] [BATHROOM]

void updateMenu() {

int item_count = 4;

switch(gaze) {

case LEFT:  selected = (selected - 1 + item_count) % item_count; break;

case RIGHT: selected = (selected + 1) % item_count; break;

}

displayMenu(selected);  // OLED highlight

}

void onBlink(int count) {

if (count == 1) confirmSelection(selected);

if (count == 2) sendEmergency("CALL_NURSE");

}

```

### 5.4 In the System

```

EOG → Arduino → ESP32 #1 → Case Capsule (eye_gaze field)

↓

ESP-NOW mesh

↓

NXP Gateway → Victus → Nurse dashboard

```

Fully offline. Eye commands travel the same mesh as everything else.

### 5.5 Effort Estimate

| Task | Time |

|---|---|

| EOG circuit (electrodes + amp + filter) | 2–3h |

| Arduino firmware (filter + blink + gaze) | 2–3h |

| ESP32 integration (UART + command map) | 1–2h |

| Screen menu UI (OLED + selection) | 2h |

| Integration test | 2h |

| **Total** | **~10h (parallelizable)** |

If time is short: **blink only** (no gaze). Double-blink = call nurse.

## 6. Team of 4 — Roles

| Member | Module | Skills |

|---|---|---|

| **A** | NXP (dual-port, TinyML, network telemetry) | Embedded C, MCUXpresso, Edge Impulse |

| **B** | ESP32 #1 (node, sensors, RFID, GPS, DFPlayer) | Arduino/ESP-IDF, sensors |

| **C** | ESP32 #2 (relay, TFT, SD, QR) + Arduino (EOG) | Arduino, display drivers, DSP |

| **D** | Victus (LLM, dashboard, merge, GPS map) | Python, Ollama, React/Web |

## 7. 36-Hour Build Plan

### Phase 1: Foundation (0–4h)

| Time | A (NXP) | B (Node) | C (Relay+EOG) | D (Victus) |

|---|---|---|---|---|

| 0–1h | Freeze capsule schema | Freeze schema | Freeze schema | Freeze schema |

| 1–2h | NXP power, Ethernet ping | ESP32 #1 power, sensor read | ESP32 #2 power, TFT display | Install Ollama, pull llama3.2:3b |

| 2–3h | Dual-port telemetry | OLED shows sensor values | ESP-NOW TX/RX test | Train network anomaly on synthetic data |

| 3–4h | Threshold detection running | RFID read/write test | SD read/write test | Dashboard skeleton (HTML/React) |

### Phase 2: Core (4–12h)

| Time | A | B | C | D |

|---|---|---|---|---|

| 4–6h | TinyML data collection | GPS NEO read + Kalman | TFT UI (queue display) | GPS map component (Leaflet) |

| 6–8h | Edge Impulse training start | DFPlayer audio test | EOG circuit build | LLM triage agent prompt |

| 8–10h | Model export → TFLite → NPU | Red-flag engine (HR/fall) | EOG filter code | Merge engine skeleton |

| 10–12h | NPU inference test | Case Capsule build + sign | Blink detection test | Delay-aware advice engine |

### Phase 3: Integration (12–22h)

| Time | All members |

|---|---|

| 12–14h | ESP-NOW mesh integration: node → relay → NXP |

| 14–16h | RFID sign → OLED verify flow |

| 16–18h | GPS tag embedded in Case Capsule |

| 18–20h | Victus merge engine + LLM timeline generation |

| 20–22h | End-to-end: sensor → capsule → mesh → NXP → Victus → dashboard |

### Phase 4: Demo Prep (22–32h)

| Time | All members |

|---|---|

| 22–24h | First full rehearsal |

| 24–26h | Fix critical bugs |

| 26–28h | Second rehearsal |

| 28–30h | Fix + third rehearsal |

| 30–32h | Demo script final |

### Phase 5: Buffer (32–36h)

| Time | All members |

|---|---|

| 32–34h | Final check + fourth rehearsal |

| 34–35h | Pitch prep |

| 35–36h | Fifth rehearsal + rest |

## 8. Demo Script — 10 Steps

**Setup:** Volunteer wears RFID wristband. Bed node on table. EOG electrodes on volunteer's eyes. Victus dashboard fullscreen.

| # | Action | Audience sees |

|---|---|---|

| 1 | Normal | Dashboard green. Node OLED green. Wristband VERIFIED. GPS map shows current location |

| 2 | Degrade primary | Script injects latency + loss. NXP detects trend. Dashboard yellow: `Primary degrading — predicted failure 18s` |

| 3 | Pre-emptive switch | NXP moves to Port B. Dashboard: `Switched to backup`. No interruption |

| 4 | Pull primary cable | Nothing breaks. Already on backup |

| 5 | Pull backup cable | Both IP paths dead. ESP32 mesh activates. Node → relay → TFT: `CRITICAL — Fall — HR 120 — GPS: 12.9716, 77.5946` |

| 6 | GPS map updates | Red pin appears on dashboard. **No internet** |

| 7 | Eye gaze demo | Volunteer blinks twice. OLED shows `CALL NURSE`. Command travels mesh. TFT shows `EYE COMMAND: CALL_NURSE` |

| 8 | RFID verify | Tap wristband → OLED `VERIFIED — Allergies: Penicillin`. Edit offline → tap again → OLED red `TAMPERED` |

| 9 | Delay-aware flip | Change time-to-help from 20 min to 2 days. LLM advice changes: "Prepare transport" → "Teach caregiver, monitor every 2h" |

| 10 | Restore network | NXP brings Port A back. Delta sync. Merge flags `Possible double dose`. LLM writes timeline: `14:32 fall (GPS: 12.9716, 77.5946) → 14:33 alert → 14:33 eye call → 14:35 ack → 14:45 duplicate flagged` |

## 9. Cut List

| Priority | Cut | Fallback |

|---|---|---|

| 1 | Gaze direction | Blink only. Double-blink = call nurse |

| 2 | GPS | Cut. Location is not load-bearing |

| 3 | NXP TinyML | Threshold + linear trend. Still predictive |

| 4 | Merge conflict flag | One type only (double dose) |

| 5 | Ultrasonic | Cut. PIR + force covers presence |

| 6 | Arduino | Cut. ESP32 has enough pins (loses EOG) |

**Must keep:** NXP predictive failover, ESP32 mesh, RFID tamper, Case Capsule delta, delay-aware flip, harm-ranked queue, LLM timeline, **blink detection** (if EOG works).

## 10. Key Resources

| Resource | Use |

|---|---|

| **CSE-CIC-IDS2018** | Network anomaly training (120K samples, 14 attack types) |

| **NXP eIQ Time Series Studio** | NPU model training + deployment |

| **Edge Impulse** | Alternative TinyML platform |

| **MCUXpresso IDE + SDK** | NXP dev environment |

| **Ollama + llama3.2:3b** | Local LLM (~2GB) |

| **Eye-BioAmp-Arduino-Firmware** | EOG + blink reference code |

| **LVGL for MCXN947** | TFT driver (GitHub: liamHowatt/lv_port_nxp_frdm_mcxn947) |

| **ESP-NOW mesh example** | cypher-chat project (up to 5-hop relay) |

## 11. Pitch

"Ransomware kills hospital networks. In-hospital mortality rises 33–38% during downtime. Kettering Health lost 600 applications and went back to paper. Average downtime costs $1.9 million per day.

Today's systems react **after** failure. Nirantara Sentinel predicts it — the NXP dual-port gateway switches 15 seconds before packets drop. When every IP path dies, an ESP32 mesh keeps alarms, identity, and GPS-tagged triage alive — no internet, no server. An RFID wristband proves the record is real. A paralyzed patient can call for help with a blink.

When the network returns, everything merges cleanly. A local LLM writes the incident timeline.

**The judge presses one button. The server dies. The care doesn't.**"

## 12. Technical Risks & Mitigation

| Risk | Mitigation |

|---|---|

| NXP dual-port fails | ESP32 #2 WiFi as Port B. NXP manages Port A only |

| TinyML training overruns | Fall back to threshold + linear trend immediately |

| EOG too noisy | Start with double-blink only. Simulate EOG with potentiometer on breadboard |

| ESP-NOW range short | Demo in one room. Range 50–200m open air |

| LLM too slow | Pre-warm Ollama. Use llama3.2:1b (smaller) |

| RFID signature too complex | Simple HMAC-SHA256 with hardcoded key |

| 4 people, time short | Follow cut list. Core = NXP switch + mesh + RFID + blink |

**This is the complete plan in English. Every component used. Every PPT concept implemented. NXP NPU training, offline GPS tagging, and eye-gaze control added. Four people, 36 hours, buildable.**